H-0974.2

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**HOUSE BILL 1747**

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**State of Washington 66th Legislature 2019 Regular Session**

**By** Representatives Doglio, Gregerson, Jinkins, and Dolan

AN ACT Relating to risk-based water quality standards for on-site nonpotable water systems; and adding a new section to chapter 90.46 RCW.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF WASHINGTON:

NEW SECTION. **Sec.**  A new section is added to chapter 90.46 RCW to read as follows:

(1)(a) By December 31, 2019, the department of health, in consultation with the Washington state building code council, shall adopt rules for:

(i) Risk-based water quality standards for the on-site treatment and reuse of nonpotable alternative water sources for nonpotable end uses in multifamily residential, commercial, and mixed-use buildings, and district-scale projects, including a mix of multifamily residential, commercial, and mixed-use buildings; and

(ii) Construction standards to adopt the risk-based framework water quality standards.

(b) The department of health must ensure that rules adopted under this subsection take effect January 1, 2021.

(2) At a minimum, the rules required under subsection (1) of this section must address the following:

(a) Risk-based log reduction targets for the removal of pathogens, such as enteric viruses, parasitic protozoa, and enteric bacteria for alternative water sources, including wastewater from all domestic fixtures, gray water, rainwater, and stormwater for nonpotable end uses such as toilet and urinal supply water, clothes washing, irrigation, and dust suppression;

(b) Treatment and performance requirements;

(c) Water quality monitoring requirements;

(d) Reporting requirements for the treatment, performance, and water quality monitoring results;

(e) Notification and public information requirements;

(f) Cross-connection controls; and

(g) Permitting.

(3)(a) An on-site treated nonpotable water system in operation before January 1, 2021, must comply with the rules established pursuant to subsection (1) of this section by January 1, 2023.

(b) If a permitting local jurisdiction finds that the permittee is working to come into compliance with the rules adopted under subsection (1) of this section, but due to extenuating circumstances related to the engineering, repair, or replacement of the system a further extension is warranted, the local jurisdiction may grant an extension to comply with the rules. The extension may not exceed January 1, 2025.

(4) The Washington department of health may consult or contract with other public or private entities, including but not limited to the state building code council and the department of ecology for advice on state building code language, water rights, water quality, and other technical matters relating to adoption of the risk-based water quality standards pursuant to subsection (1) of this section.

(5) For the purposes of this section, "local jurisdiction" includes a county, city, or town.

**--- END ---**