2061-S2 AMH SHOR LIPS 336

**2SHB 2061** - H AMD **671**

By Representative Short

**ADOPTED 02/16/2016**

On page 4, line 18, after "(3)" insert "Prior to a county's approval of a group B public water system where raw groundwater does not meet water quality standards under this section, the group B public water system must review alternate sources of water and share that review with its owners and the county. The alternative sources that a group B public water system should consider includes, but is not limited to, rainwater collection, truck and storage systems, or other nontraditional conveyance methods. The county legislative authority may require that a group B public water system treat any alternative water sources that it relies upon.

(4)"

|  |  |
| --- | --- |
|  | EFFECT:  Requires group B public water systems to review alternative water supply sources to the raw groundwater, such as rainwater and truck delivery, prior to the county legislative authority approval of the group B public water system. Authorizes a county legislative authority to require a group B public water system to treat alternative water sources. |

**--- END ---**