CERTIFICATION OF ENROLLMENT

**HOUSE BILL 1542**

68th Legislature

2023 Regular Session

|  |  |
| --- | --- |
| Passed by the House April 13, 2023  Yeas 96 Nays 0  **Speaker of the House of Representatives**  Passed by the Senate March 31, 2023  Yeas 48 Nays 0  **President of the Senate** | CERTIFICATE  I, Bernard Dean, Chief Clerk of the House of Representatives of the State of Washington, do hereby certify that the attached is **HOUSE BILL 1542** as passed by the House of Representatives and the Senate on the dates hereon set forth.  Chief Clerk |
| Approved |  |
| **Governor of the State of Washington** | **Secretary of State**  **State of Washington** |

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**HOUSE BILL 1542**

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

AS AMENDED BY THE SENATE

Passed Legislature - 2023 Regular Session

**State of Washington 68th Legislature 2023 Regular Session**

**By** Representatives Bronoske, Fosse, Berry, Hackney, Abbarno, Griffey, Walsh, Ortiz-Self, Taylor, Ramel, Simmons, Jacobsen, Schmidt, Graham, Ormsby, Pollet, Kloba, Doglio, Bateman, Macri, Leavitt, and Timmons

AN ACT Relating to requiring automated external defibrillators to be available and accessible when work is being performed on high voltage lines and equipment; adding a new section to chapter 49.17 RCW; and providing an effective date.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF WASHINGTON:

NEW SECTION. **Sec.**  A new section is added to chapter 49.17 RCW to read as follows:

(1) Any employer with employees who operate, maintain, or construct high voltage lines and equipment or who conduct line-clearance tree trimming in close proximity to high voltage lines and equipment shall:

(a) Make an automated external defibrillator available and accessible to employees when work is being performed on, or in close proximity to, high voltage lines and equipment by two or more employees;

(b) Conduct regular maintenance and annual inspections of the automated external defibrillator to ensure operability and availability; and

(c) Provide training or facilitate the provision of training to ensure there are at least two employees proficient on the proper and safe use of the automated external defibrillator at any site involving work on, or in close proximity to, high voltage lines and equipment. To be considered proficient, an employee must have completed initial or updated training within the previous two years.

(2) For the purposes of this section, "high voltage lines and equipment" refers to any energized communication line, electric supply line, or equipment with a voltage of 601 or greater.

NEW SECTION. **Sec.**  This act takes effect January 1, 2025.

**--- END ---**